CERTIFICATE OF ANALYSIS

| Product: | Urease(II) |
| --- | --- |
| Catalog Number： | 9002-13-5 |
| Lot No.: | 86670 |
| Storage: | -20℃ |

| TESTS | SPECIFICATIONS | RESULTS |
| --- | --- | --- |
| Appearance： | White amorphous， powder,lyophilized | White amorphous， powder,lyophilized |
| Activity:U/ mg -solid | ≥100 | 146 |
| Asparainase：% | ≤0.02 | <0.0002 |
| Arginase：% | ≤0.002 | <0.00002 |
| Ammonium ion;,u g/U： | ≤0.0005 | 0.0005 |

代旭旭

Quality Inspector